APOLLO WELDING, CUTTING AND HEATING PERMIT

THIS PERMIT IS TO BE COMPLETED WHENEVER WELDING, CUTTING, OR HEATING IS TO BE PERFORMED.

COMPLETED PERMIT MUST BE HUNG IN WORK AREA

| Area | Building | Issue date | Expiration date |
| --- | --- | --- | --- |
| Job Description: |
| WELDING/CUTTING/HEATING REQUIREMENT |
| YES | NO | NA |  |
|  |  |  | Automatic sprinklers in service. If yes, Precautions must be taken to eliminate the accidental activation of system. Notify general contractor Sprinkler heads in the area of hot work covered to prevent accidental activation. Smoke detection and alarms systems covered for the duration of hot work to prevent false alarms. If within 5 feet of sprinkler heads, the owner and foreman shall be notified and shall walk the system down to ensure all precautions are taken. |
|  |  |  | Duct smoke alarms and dampers protected. |
|  |  |  | Flammable liquids/solids relocated |
|  |  |  | Flammable vapors removed |
|  |  |  | Combustible work surfaces wetted down or covered |
|  |  |  | Other combustibles removed |
|  |  |  | Fire extinguisher provided and inspection tag current |
|  |  |  | Wall, floor, duct, and tank openings covered |
|  |  |  | Fire watches provided (only if cant see sparks landing, holes,etc) |
|  |  |  | Equipment is proper working order and inspected |
|  |  |  | Proper electrical connections |
|  |  |  | Toxic residue from surfaces removed |
|  |  |  | Ventilation/exhaust adequate |
|  |  |  | Weld screens in place |
|  |  |  | All training current |
|  |  |  | Other: |
| PERSONAL PROTECTION REQUIREMENTS |
| ( Leather gloves ( Safety Glasses ( Face Shield ( Hearing protection ( Respirator ( Welders hood ( Cutting goggles ( Hard Hat |
| Remarks or special instructions: |
| Completed By: _______________________ Fire Watch:___________________________ Key Supervisor;_______________________ Personnel completing the hot work: |
| Name: | Signature: |