Purpose

- To define the requirements, responsibilities, and system for control, evaluation, and entry for work in confined spaces, to ensure compliance with Occupational Safety and Health Administration/Washington Industrial Safety and Health Act (OSHA/DOSH/OROSHA) requirements.

- This procedure complies with the requirements of State and Federal Standards.

- Responsibility

  - Apollo Key Supervisor shall be responsible for the following:

    - Identifying all confined space locations and hazards they present.

    - Determining and documenting a confined space as a Permit Required or Non-Permit Required confined space.

    - Reviewing and approving confined Space Entry Permits (attachment AISH 16-A).

    - Monitoring compliance with this procedure.

    - Initiating and completing the Confined Space Entry Permit and JHA.

    - Ensuring that the Confined Space Entry Permit, Rescue Plan and JHA are posted and complied with.

    - Ensuring that the Confined Space sign is posted.

    - Ensuring that all personnel are sufficiently trained (before work is performed) in accordance with the requirements of subsection 5.15 of this procedure. Training must be documented.

    - Ensuring that the atmospheric testing of confined spaces is performed according to the confined space Entry Permit.

    - Providing all air quality testing equipment required to monitor the confined space.

    - Ensuring that managers/supervisors in charge of confined space entry operations maintain a working knowledge of this procedure.  (See also special requirements for “entry supervisors” at subsections 5.3 and 5.15.)

    - Ensuring that any and all confined spaces are not easily accessible when a permit is canceled for any reason.

  - The entry supervisor shall be responsible for compliance with this procedure and for the duties specified at subsection 5.4

  - The standby attendant shall be responsible for compliance with this procedure and for the duties specified at subsection 5.5.

  - Authorized entrants shall be responsible for compliance with this procedure and for the duties specified at subsection 5.6.

- Definitions

  - Acceptable Entry Conditions:  minimum conditions that must exist in a permit space to allow entry and to ensure that employees involved with a permit-required confined space entry can safely enter and work within the space.

  - Alternate Entry Permit:  When a Permit required confined space hazards can be eliminated before entry, and the only remaining hazard can be controlled by forced ventilation and atmospheric monitoring then an alternate entry permit can take the place of a confined space permit.

  - Authorized Entrant:  Any individual who is authorized to enter a confined space by merit of having successfully completed all required confined space entry training.

  - Attendant:	An individual stationed outside one or more permit-required confined spaces to monitor the entrants.

  - Blanking:  The absolute closure of a pipe, line, or duct to prevent passage of any material, by fastening a solid plate or “cap” across the pipe, etc.

  - Competent Person:  An individual who is knowledgeable in confined space entry.  This includes the identification of existing and potential hazards, safe means of entry and egress, criteria of the confined space permit, monitoring of atmospheric conditions, and standby attendant responsibilities; and on who has the authority to take prompt corrective action to eliminate those hazards.

  - Confined Space:  A space which by design, has limited means of entry and exit, may be subject to accumulations of toxic or flammable contaminants, and may be subject to an oxygen deficient/oxygen enriched atmosphere. Confined spaces include, but are not limited to: Storage tanks, process vessels, bins, boilers, ventilation or exhaust ducts, sewers, underground utility vaults, tunnels, pipelines, and open top spaces (more than 4 feet in depth) such as pits, tubs, vaults, and vessels. Confined spaces are classified by two categories, permit required and non-permit required.

  - Confined Space Entry Permit:  The written authorization for entry into a confined space, under established conditions, for a stated purpose during a specified work shift.

  - Double Block and Bleed:  Isolating a confined space from a pipe by locking closed two in-line valves and by locking open a drain, or bleed, to the atmosphere in the line between the two closed valves.

  - Engulfment:  The surrounding and effective capture of a person by a liquid or finely divided (flow able) solid substance that can be aspirated to cause death by suffocation, asphyxiation, or that can exert enough force on the body to cause death by strangulation, constriction or crushing.

  - Entry:  Any action resulting in a part of the body breaking the plane of any opening of the confined space and including all subsequent work activities inside the confined space.

  - Entry Supervisor:  An individual (manager, supervisor, foreman, etc.) who has been designated as overseeing the specific confined space operation and provides the supervisory functions described in subsection 3.4.

NOTE: An entry supervisor also may serve as a standby attendant or as an authorized entrant, if that person is trained and equipped as required by this procedure for each role he or she fills.

  - Flammable Atmosphere:  An atmosphere that contains a concentration of flammable vapor or gas greater than 10 percent of the lower explosion limit (LEL).  (Such atmospheres may also be toxic.)

  - Hazardous Atmosphere:  Any atmosphere containing one or more of the following:

- A potential flammable hazard.

    - An oxygen deficient or oxygen enriched atmosphere.

    - An atmospheric concentration of any substance listed in 29 CFR 1910, Subpart Z, at a concentration at or above the listed permissible exposure limit.

    - An atmospheric concentration of any substance not listed in 29 CFR 1910, Subpart Z, but listed with a permissible exposure limit on a Material Safety Data Sheet required by 29 CFR 1910.1200, or that is otherwise known to present a safety or acute health hazard.

    - Any IDLH condition.

  - Inerting:  Rendering the atmosphere of a confined space nonflammable, non-explosive, or otherwise chemically non-reactive by displacing or diluting the original atmosphere with a gas (Nitrogen) that is non-reactive in the specific circumstance.

NOTE: Inert atmospheres are incapable of supporting human life even if they are not themselves toxic.  Therefore, all inert atmospheres are IDLH.

  - Lower Explosive Limit (LEL):  The minimum concentration of a combustible/flammable gas or vapor in air (usually expressed in percent by volume), which will ignite if an ignition source is present.

  - Non-Permit Confined Space/Confined Space (OR):  A confined space that does not contain any hazards, or potential hazards capable of causing death or serious injury.

  - Oxygen Deficient Atmosphere:  An atmosphere containing less than 19.5% oxygen by volume.  (Air purifying respirators cannot be used in an oxygen deficient atmosphere.)

  - Oxygen Enriched Atmosphere:  An atmosphere containing more than 21.0% oxygen by volume.  Oxygen-rich atmospheres expand the range of flammability and will cause combustible materials to burn violently when ignited.

  - Permit Required Confined Space: A confined space that has one or more of the fallowing characteristics capable of causing death or serious injury.  Potential to contain a hazardous atmosphere, potential of an engulfment hazard, contains an internal configuration that could allow someone entering to be trapped or asphyxiated (inward converging walls), contains a physical hazard (moving parts), or contains any other serious health hazard.

  - Rescue Plan:  A plan that includes either a non-entry rescue plan or an entry-required Rescue Plan. A non-entry rescue could be executed by the Standby Attendant or entry-required plan will need a written agreement with a 3rd party specialty rescue service or trained professionals may be provided by the general contractor. The rescue plan must be in place before any entrant can access the confined space.

  - Retrieval Line:  A line or rope attached at one end to a full body harness, chest harness, or wristlets worn by the entering employee and secured to an anchor point or lifting device located outside the entry portal.

  - Standby Attendant:  A trained person who remains outside the defined limit of the confined space.  The attendant is in communication with, or in direct view of, the person(s) inside and is trained in, and familiar with, the emergency response plans.

  - Toxic Atmosphere:  Atmospheres in which airborne contaminants are present in concentrations above the threshold limit value/permissible exposure limit (TLV/PEL).

- General Requirements

  - All confined space work shall be in accordance with this procedure.

  - When deemed, appropriate Apollo IS&H may, after careful evaluation, grant exemption from specific requirements of this procedure for specified confined spaces, on an individual basis.  Justification for granting such exemptions shall be documented on the confined space entry permit or on an attachment thereto.

  - Confined spaces shall be assumed to be immediately dangerous to life or health (IDLH) until proven otherwise.

  - Documentation of a confined space evaluation is required for all confined spaces.  Determination of whether the space is classified as a “Permit” or “Non-Permit” space is required.  The Key Supervisor will ensure this is complete before any work proceeds within a confined space.

  - All confined spaces shall be posted with the appropriate confined space sign.

  - A Confined Space Entry Permit shall be posted at any active confined space worksite.  A copy of this procedure shall be available at designated locations accessible to employees.

  - Atmospheric testing and continuous monitoring shall be performed in accordance with subsection 5.7.

  - A safe means of entry and exit (i.e., ladders, stairways, descent/retrieval devices, etc.) shall be maintained always.

  - Entry supervisors, standby attendants, and all authorized entrants shall successfully complete appropriate confined space training prior to being allowed to participate in confined space operations. (Refer to subsection 5.15.)

  - All other employees shall receive training to ensure that they are aware of the potential dangers of confined spaces and understand that entry is not allowed without special authorization.

  - All required training before entry shall be documented.  Any employee whose training falls outside of Apollo’s yearly standard must have a refresher training to work on a confined space team, or inside the confined space.

  - Lock and tag procedures shall be in place as required by AISH 15.

  - The minimum level of non-task lighting for all indoor and outdoor activities shall be an average of 3 foot candles measured 30 in. above the floor or work surface.

  - In accordance with subsection 5.6, confined spaces shall be cleaned to the extent possible prior to personnel entering.  Disposal of cleaned materials shall be in accordance with the contract environmental requirements.

  - Whenever a condition arises which is not planned for under the confined space permit (i.e., the air quality within a confined space deteriorates), the confined space shall be evacuated and the entry permit canceled until the situation can be resolved.  An Apollo IS& H representative shall participate in the resolution of such a situation.

NOTE: A permit is considered “canceled” when the standby attendant or entry supervisor removes the permit (and the corresponding Daily Confined Space Entry Log) from its place of posting and takes sole possession of same, thereby indicating that entry into the confined space is not allowed. The “canceled” permit may be re-issued upon resolution of the problem(s) which caused the cancellation.  If the permit is permanently canceled, the work “canceled” shall be written across the face of the permit.

A permit is canceled when its validation period is expired or the work for which the permit was issued has been completed or otherwise terminated.  The word canceled shall then be written across the face of the permit.

  - When respiratory protection is required, the provisions of State and or Federal Laws shall be followed.  Air-line respirators used in confined spaces must be equipped with an auxiliary self-contained air supply with a minimum 5-minute capacity.

  - An entry supervisor responsible for the duties described in subsection 5.3 shall be assigned to each active confined space work site.  The entry supervisor may also serve as a standby attendant or as an authorized entrant if that person is trained and equipped as required by this procedure for each role he or she performs. However, a standby attendant cannot become an entrant unless there is a person(s) of equal training and availability to take his/or her place at the time of entry.

  - A standby attendant responsible for the duties described in subsection 5.4 shall be assigned to each active confined space work site.  Standby attendants shall monitor only one confined space at a time.

  - A confined space entry operations review system shall be administered in accordance with subsection 5.16.

- Procedure

  - Inspection and Evaluation

(Note: Use Evaluation Flow Chart on page 28 of this procedure to help properly asses in the classifications of all confined spaces.)

5.1.1	Prior to employee entry, each confined space shall be evaluated to identify the hazards and potential hazards of that space based on the following:

      - Before an employee enters the space, the internal atmosphere shall be tested, with a calibrated direct-reading instrument, for oxygen content, flammable gases and vapors, and for potential toxic air contaminants, in that order. All testing equipment and results shall be documented. Any employee, who enters the space, or that employee's authorized representative, shall be provided an opportunity to observe the pre-entry testing required by this paragraph.

      - The physical characteristics of the confined space

      - The current and past uses of the confined space which may affect the oxygen level, toxicity, or flammability of the atmosphere in the space, or which may have left a residue of material which could fall on, engulf, or otherwise injure an employee

      - Any special hazards arising from the location of the space which may endanger the occupants of the space (i.e. dangerous machinery, relative to other operations, processes, or structures)

      - Any operations or processes that are to be carried out in, or which involve, the confined space while employees are inside (i.e., welding, grinding, cleaning, removal or application of paints/coatings, toxic materials, etc.) and may result in creating a more hazardous atmosphere.

      - The frequency of routine employee entry

    - Safety Data Sheets (SDS’s) for any chemical used or encountered during confined space entry operations are made available before the entry.

  - Confined Space Entry Permits/Logs

    - A Permit required Confined Space will have one or more of the fallowing characteristics:

        - Contains or has the potential to contain a hazardous atmosphere.

      - Material with the potential of an engulfment hazard to confined space entrants.

      - Has an internal configuration that could allow someone entering to be trapped or asphyxiated by inwardly converging walls or by a floor, which slopes downward and tapers to a small cross-section.

      - Contains any physical hazard including but not limited to engulfment, solid or liquid material, electrical shock, or moving parts.

      - Any hazard that impairs the ability to self-rescue.

      - Contains any health hazard that could result in a situation that presents an immediately dangerous to life and health (IDLH).

    - A Confined Space Entry Permit shall be completed prior to any employee entering a confined space that has been evaluated and deemed a permit required Confined Space.

    - The entry permit shall authorize personnel entry into a specified confined space on a specified day and during a particular shift.

NOTE:	A Confined Space Entry Permit may be valid for more than one day when deemed appropriate by Apollo IS&H (see subsection 4.2).

    - The entry permit shall include:

        - A description of the hazards known or expected to be present in the confined space due to its current or past use, and any cleaning, purging or inerting performed prior to entry.

      - A description of any additional hazards that may be generated as a result of activities carried out during occupancy of the space.

      - A description of the type of personal protective equipment required for entry.

    - The entry permit shall specify:

    - The types of retrieval equipment necessary for rescue, the procedure for rescue, and the rescue plan must be at the confined space at the time of entry.  This includes a line of communication with a qualified rescue team if necessary.

      - The physical and environmental condition of the confined space must meet the minimum acceptable criteria defined by this procedure.

      - The pre-entry atmospheric testing to be completed immediately prior to entry.

      - The type and frequency of atmospheric monitoring to be conducted during the duration of the work inside the confined space.

      - Assignments of people involved of all confined space operations.

    - The entry permit shall specify all control measures that must be taken prior to entry.  These measures may include but are not limited to the following:

    - Procedures for isolating the space by such means as lockout/tag out of power sources, valves, or mechanical power transmission equipment; blanking, double block and bleed, or misalignment or removal of sections of pipes, ducts or lines

      - Any cleaning, purging, or inerting, which can be done prior to entry into the space

      - Mechanical ventilation of the space, including the capacity of blowers and how long they were run before entry

      - The manner of inerting of the space if such measures are to be used

    - Authorization for welding, cutting, or heating shall be noted on the Confined Space Entry Permit upon completion of the Welding, Cutting, and Heating Permit (see AISH 14).

    - The entry permit shall receive the following approval signatures prior to issuance:

      - Superintendent/manager/key supervisor

      - Entry supervisor

      - Standby attendant

    - The entry supervisor shall review the entry permit requirements with the authorized entrants and attendants before entry.

    - Only work that is originally identified on the entry permit shall be conducted in a confined space.  A new permit must be obtained whenever changes in work conditions or work activities introduce new hazards into the space.

  - Alternate Entry

    - In order to enter a Permit-Required Confined Space using Alternate Entry Procedures, all hazards must be controlled or removed and any actual or potential hazardous atmosphere must be monitored by using a calibrated direct-read instrument for oxygen, flammability and toxicity. Continuous forced air ventilation alone must be sufficient to maintain the space safe for entry.

    - Alternate Entry permits are only allowed when you have monitoring data that supports the following:

        - The only hazard of the permit-required confined space is an actual or potentially hazardous atmosphere.

        - Continuous forced air ventilation alone is all that is needed to maintain the permit-required confined space for entry.

    - Eliminate any unsafe conditions before removing an entrance cover.

      - Barricade and sign the confined space once the cover is removed. We must protect entrants or objects from falling into the space.

    - Before initial entry of the confined space, test the internal atmosphere with a calibrated, direct reading instrument and record on the Alternate Entry Form. (AISH 16-B).

    - Ensure there is a Rescue Plan in place and documented on the Alternate Entry Form.

    - Use continuous force ventilation as follows:

- Verify that forced air ventilation has eliminated the hazards before allowing any entrants.

      - Direct the ventilation in the work area within the space of the employee’s or at the source of the hazard.  Continue ventilation until all entrants have left the space.

      - Ensure the forced ventilation is from a clean air supply and not inducing more hazards into the space.

    - Frequently test the internal atmosphere of the space on a as needed basis to ensure hazards don’t accumulate.

    - If a hazardous atmosphere is detected during entry, evacuate the space immediately, re-evaluate the space and source of the hazard, implement control measures to protect the employees and re-test the atmosphere for hazards before re-entry.

NOTE:	If the space develops more than one hazard that cannot be controlled by forced ventilation, the Alternate Entry procedure is no longer acceptable and the confined space must be re-classified as a permit required confined space, and the appropriate procedure and paperwork must be fallowed.

  - Entry Supervisor (Competent Person)

    - The entry supervisor shall be designated as the competent person for the confined space operation.  This designation shall be documented on the competent person designation (see AISH 3).

    - The entry supervisor shall perform the following functions:

      - Determine if acceptable entry conditions are present at a confined space where entry is planned

      - Verify that rescue services are available and that the means of summoning the rescue team are operable. Whenever the confined space depth is greater than 5 ft. a mechanical device must be used for a non- entry rescue plan.

Note: If using 911 or a 3rd party as a rescue service, that rescue agreement should be in writing.

      - Authorize entry and oversee all confined space entry operations.

      - Verify all training as required by subsection 5.15 is complete.

      - Recognize the hazards that may be faced during entry, including information on the mode, signs or symptoms, and consequences of the exposure.

      - Understand the means and methods to control and/or eliminate the hazard of the permit space.

      - Verify, by checking that the appropriate entries have been made on the confined space entry permit and log, that all tests specified by the permit and log have been conducted and that all procedures and equipment specified by the permit are in place before endorsing the permit and allowing entry to begin.

      - Terminate the entry and cancel the permit whenever a prohibited condition is found to exist. (All permits when canceled or complete must be turned into Apollo IS&H).

      - Remove unauthorized individuals who enter or who attempt to enter the confined space during entry operations.

      - Determine, whenever responsibility for an entry operation is transferred and at intervals dictated by the hazards and operations performed within the confined space that entry operations remain consistent with terms of the entry permit and that acceptable entry conditions are maintained.

5.5	Standby Attendants

5.5.1	A standby attendant, properly instructed in applicable emergency procedures, shall be present outside a confined space at all times when other personnel are entering, within, or exiting.

5.5.2	The standby attendant shall perform the following functions:

      - Recognize the hazards that may be faced during entry, including information on the mode, signs or symptoms, and consequences of the exposure.

      - Monitor the entry of personnel and ensure that the Daily Confined Space Entry Log is completed for each entry.

      - Continuously maintain an accurate count of authorized entrants in the confined space. Maintain constant communication (sight, voice, radio, etc.) with those inside the confined space at all times.

      - Perform pre-entry atmospheric testing and continuous atmospheric monitoring of the confined space and record the results on the Daily Confined Space Entry Log.

      - Remain alert for any changes in the behavior of those inside which may signal a toxic reaction or some other serious stress reaction.

      - Ensure that all required protective and emergency equipment is present and in operable condition.

      - Complete necessary training to the extent required by his/her work activities and by this procedure.

      - Maintain clear and safe access to and from the confined space and keep unauthorized personnel away from the immediate area.

NOTE: The standby attendant has the authority to make on-site determinations as to whether access by other personnel is appropriate and to stop work when he/she feels that such access is not appropriate.

      - Order the authorized entrants to evacuate the confined space immediately if any of the following conditions are detected:

        - A prohibited condition.

        - Behavioral effects of hazard exposure in an authorized entrant.

        - A situation outside the space that could endanger the authorized entrants.

        - The standby attendant cannot effectively and safely perform   all of his/her assigned duties as required by this procedure.

      - In the event of an emergency, immediately notify the supervisor, rescue team and Fire Department (911) for medical transport. Failsafe communication system between the Standby Attendant and all 3 should be established before any entry is made.

5.5.3	Standby attendants (or any other personnel) shall not enter a confined space to affect a rescue unless they are part of a trained emergency rescue team, and have been relieved by a properly trained replacement attendant.  If the standby attendant can affect a non-entry rescue without entering the confined space, he/she should do so.

5.5.4	When an active work area becomes IDLH it is company policy that all work must stop and the work area must be evacuated immediately.  All controls must be implemented to downgrade an IDLH atmosphere of the work area and Apollo Safety shall be immediately contacted.  It is against company policy to work in IDLH environments and therefore no work shall continue if a work area develops into one.

5.5.5	THE STANDBY ATTENDANT SHALL PERFORM NO DUTIES OTHER THAN THOSE SPECIFICALLY IDENTIFIED IN THIS PROCEDURE.

EXCEPTION:	The Standby Attendant may be assigned responsibility for monitoring the breathing air bottle cart when the cart is located within 10ft of his/her designated location and there are no obstructions to vision or travel between that designated location and the cart.  This includes VISUAL MONITORING ONLY, and does not include changing the bottles.

  - Authorized Entrants

5.6.1 Authorized entrants shall perform the following functions:

      - Complete all required training prior to entering a confined space (see subsection 5.15).

      - Comply with all requirements specified in this procedure and the entry permit.

      - Read the Confined Space Entry Permit and sign the log.

      - Read the JSA and sign the Work Plan Sign-Off Log attached to the JSA.

      - Ensure that the Daily Confined Space Entry Log is completed prior to entry.

      - Ensure that atmospheric testing of the confined space has been performed and recorded on the log prior to signing.

      - Know the hazards that may be faced during entry, including information on the mode, signs or symptoms, and consequences of exposure.

      - Possess the knowledge to safely use all required equipment, including but not limited to, testing and monitoring equipment, ventilation equipment, communications equipment, PPE, lighting equipment, barriers and shields, ladders and other access/egress equipment, rescue and emergency equipment, and any other equipment necessary for the safe conduct of work in the confined space.

      - Communicate with the standby attendant to enable the attendant to monitor entrant status and to enable the attendant to alert entrants of the need to evacuate the space as required.

      - Alert the standby attendant whenever he/she recognizes any warning sign or symptom of exposure to a dangerous situation or prohibited condition.

      - Exit from the confined space as quickly as possible whenever any of the following occur:

        - An order to evacuate is given by the standby attendant or the entry supervisor.

        - Any warning sign or symptom of exposure to a dangerous situation is recognized.

        - A prohibited condition is detected.

        - An evacuation alarm is activated.

5.6.2	When working in a confined space with multi contractors the fallowing actions shall be taken.

      - The Owner/General contractor’s Confined Space policy shall always be considered first.  If the owner/general contractor does not have a confined space policy or is found to be inefficient Apollo has the option to provide this policy and training for all entrants involved.

      - All entrants shall fallow the same Confined Space form and policy so that no person(s) creates a greater risk than another by authorized entrance.

      - Apollo shall provide training and implementation of this Confined Space Policy to all sub-contractors whom are working for us and required to enter a confined space AND for all owned Confined Spaces when acting as the General Contractor.

      - If multi-contractor work creates a greater hazard with work inside a confined space we are currently working in or scheduled to work in, Apollo employee’s shall exit the confined space immediately and inform the Entrant Supervisor. Further evaluation of scheduling and training will be addressed by supervisors of each affected contractor.  Re-entry shall not be granted by an Apollo Supervisor until all personnel are trained on and using the same policy and procedure for the confined space work.

      - Whenever feasible; to minimize the hazards and risks involved when working in a confined space, all multi-contractor confined space work shall be avoided by scheduling.

  - Cleaning and Purging

    - Any confined space that has been used to store liquids, chemicals, or organic materials shall be purged of all residues.

    - When required, provisions for the cleaning and purging of confined spaces shall be determined on a case-by-case basis.  The procedure for such cleaning and purging shall be documented on a JHA.

    - When the previous contents/use of a confined space are not known, thorough evaluation and/or testing shall be conducted to identify any potential for the presence of toxic substances, residues, or vapors.

  - Atmospheric Testing

    - Atmospheric testing shall be conducted by the standby attendant, entry supervisor, or other designated individual who has received the appropriate level of training relative to the specific test equipment being used.

    - Atmospheric testing/monitoring instruments, including their power source, shall be properly maintained, set up and calibrated according to manufacturers’ recommendations.

    - Prior to entry, confined spaces shall be tested for presence of oxygen-deficient, oxygen-enriched, and flammable atmospheres.  The oxygen content is tested prior to or in conjunction with testing for the presence of flammable atmospheres.  (Oxygen enrichment or deficiency may adversely affect the accuracy of the testing equipment when testing for LEL.)

    - Atmospheric testing of confined spaces shall include various levels of the entire portion to be occupied.  Areas that cannot be tested from outside the space shall be tested as the entry progresses using extension poles or other means to test the atmosphere at least 5 ft ahead of the entrant(s).

    - Results of pre-entry testing shall be recorded on the Daily Confined space Entry Log.

    - Continuous monitoring of oxygen and LEL levels shall be conducted in all confined spaces.  Alarms for oxygen deficiencies shall be set at 19.5% and oxygen-enriched atmospheres at 23% by volume.  Alarms for flammable atmospheres shall be set at 10% of the LEL.

    - When CONTINUOUS MONITORING READING DEVIATE from acceptable limits, those deviations shall be explained on the Daily Confined Space Entry Log.  Resolutions (corrective action) to these deviations shall also be recorded on the log.

    - If presence of toxic substances is known or suspected, testing shall be performed by the Contractor as deemed appropriate by Apollo IS & H.

    - If presence of physical hazards (noise, irritants, corrosives, etc.) is known or suspected, testing shall be performed by the Contractor as deemed appropriate by Apollo IS&H.

  - Ventilation

    - Mechanical ventilation shall be used whenever atmospheric hazards (e.g. toxic gases, oxygen deficiencies, etc.) are encountered. (Note: Positive pressure ventilation is 30 times more effective than negative pressure ventilation.)

    - If flammable gases, vapors or dusts are present, mechanical ventilation shall be of a type approved for the specific hazardous location.  Such ventilation shall begin before entry and continue throughout occupancy to eliminate hazards and reduce or eliminate the need for personal protective equipment.

    - In confined spaces where there is a potential for the atmosphere to become IDLH:

          - Rescue team must be present before entry into any potential or actual IDLH environments.

      - Ventilation equipment shall be equipped with and audible warning device to indicate failure of that equipment, or

      - Ventilation equipment shall be positioned so that its failure is easily detectable by the standby attendant, and

- Factors such as noise, distance, configuration and proximity shall be such that the standby attendant may promptly and easily notify all authorized entrants when a failure has occurred in the system.

    - UNDER NO CIRCUMSTANCES SHALL PURE OXYGEN BE INTRODUCED INTO A CONFINED OR ENCLOSED SPACE FOR PURPOSES OF VENTILATION OR IMPROVING BREATHING AIR QUALTIY.  This does not preclude the properly controlled use of oxygen/acetylene torches as described in subsection 5.9 of this procedure.

    - Local exhaust ventilation shall be provided to eliminate contaminants from welding and other operations within the confined space.

    - Continuous general ventilation (either natural or forced) shall be established and maintained during hot work.

    - Ventilation EXHAUST OUTLETS shall not be directed to locations adjacent to ventilation INTAKES, nor to locations that will expose any workers.

    - Ventilation shall be established to be adequate enough to minimize contaminant exposures below the according PEL/TLV levels.

    - In the event of a ventilation system failure, the confined space shall be evacuated immediately.

  - Welding, Cutting, and Heating

    - Welding, thermal cutting, and heating (hot work) shall be performed in accordance with the requirements of AISH 14.  A Welding, Cutting, and Heating Permit shall be completed prior to the start of such work.

    - Welding, thermal cutting, or heating shall not be initiated in a confined space until atmospheric tests have been performed for oxygen and flammables and the results indicate an acceptable atmosphere as follows:

      - Oxygen levels within the confined space shall be greater than 19/5% but less than 23.0% by volume.

      - Combustible/flammable gases or vapors shall be at levels below 10% of the LEL.

    - Atmospheric oxygen and LEL testing of the confined space shall be conducted CONTINUOUSLY during welding, cutting, or heating.

    - The flammable/combustible or toxic nature of any coating shall be determined before welding, cutting, or heating is initiated in a confined space.  Such coatings shall be removed from the location of the welding, cutting, or heating for a distance sufficient (at least 4 in. wherever possible) to prevent ignition or out-gassing (from temperature increase) of coating materials in the un-stripped areas.  If sufficient stripping is not possible, respiratory protection and/or ventilation shall be provided as appropriate.

    - Whenever feasible, local exhaust shall be provided by the Contractor to capture contaminants at the source and remove them from the atmosphere in the confined space.  When adequate local exhaust is not feasible, appropriate respiratory protection shall be used.

    - Gas cylinders shall be secured outside of the confined space and shall be shut off at the valves when the equipment is not in use.  Cylinders containing oxygen, acetylene, or other gases shall not be taken into confined spaces.

    - Gas welding hoses, torches, and related equipment shall be carefully inspected.  Hoses with leaks shall not be used in or near a confined space.

    - When left unattended for extended periods of time, gas hoses and torches shall be removed from the confined space.  Gas hoses need not be removed from confined spaces in radiation zones provided the hoses are disconnected from their source.

    - Electric arc welding machines shall not be taken inside a confined space unless absolutely necessary.  Electric arc welding machines may be placed within a confined space ONLY with the following assurances:

    - Atmospheric testing and evaluation shall have demonstrated that there is no potential for flammable or oxygen enriched atmospheres.

    - Placing the machine(s) in the confined space shall not create an electrical shock hazard.

    - Access/egress shall not be obstructed.

    - Ventilation shall not be adversely affected.

    - Emergency rescue operations shall not be hindered.

    - When electrode holders are left unattended or unused for a period (such as a t breaks or lunch periods) the electrodes shall be removed from the holders, the holders placed in a safe location or protected, and the power switch to the equipment turned off.

    - If unattended for extended periods of time (such as overnight), electrode holders, cables, and other equipment shall be removed from the space and the power supply to the equipment disconnected.  This equipment need not be removed from confined spaces in radiation zones provided the equipment is disconnected from its source.

    - Extraneous flammable or combustible materials (such as scrap wood, paper, rope, rags, etc.) shall be removed from the confined space.  Combustible materials which cannot be removed shall be adequately protected.

    - Suitable fire extinguishing equipment shall be provided based on the nature and extent of flammables or combustibles present and the fires which may be expected to occur.

    - Carbon dioxide extinguishers may be used ONLY after it has been determined through pre job planning that discharge of carbon dioxide into the space is not likely to cause a hazard to workers.

    - Water extinguishers or water hoses equipped with fog nozzles or fog applicators are most suitable for hot work in the presence of ordinary (Class A) combustible materials or flammable residues or coatings.

    - When a fire extinguisher is discharged into a confined space the atmospheric integrity of the confined space shall be considered compromised and evacuated immediately. The Confined space permit shall be considered cancelled until otherwise evaluated and documented by the Entry Supervisor.

- Fall Protection and Rescue

    - Applicable fall protection requirements (including a written fall protection plan) shall be followed whenever appropriate by nature of the work environment (refer to AISH 11 and applicable OSHA/WISHA/OROSHA standards).

    - When entrance covers are removed, the opening shall be promptly guarded by a railing, temporary cover, or other temporary barrier that will prevent an accidental fall through the opening and that will protect each employee working in the space from foreign objects entering the space.

    - Before allowing entry into a confined space, the entry supervisor shall develop a Rescue Plan for timely retrieval of individuals in the space in case of emergency and review the plan with the authorized entrants and attendants. The rescue plan must be documented on the Confined Space Entry Form and any 3rd party rescue service team agreement is recommended to be in writing.

    - To facilitate non-entry rescue, appropriate retrieval systems or methods (as specified in the Confined Space Entry permit) shall be used whenever an authorized entrant enters a Permit Required confined space.

    - Reliance on “Self-Rescue” does not constitute as an acceptable rescue plan on any Permit Required Confined Space.

    - If employees are to be lowered into a confined space by a hoist, winch, or similar device, a retrieval line and body harness or a boatswain’s chair shall be used.  If the retrieval line and body harness are used to lower an employee to the working surface, the employee shall not detach the retrieval line from the harness.

    - If an employee is to work suspended from the hoist line in a confined space, a boatswain’s chair shall be provided.  The boatswain’s chair shall meet the requirements of OSHA Standard 29 CFR 1910, Subpart D.  The retrieval line and harness combination are not a substitute for a boatswain’s chair.

NOTE:	Paragraphs 5.10.4 and 5.10.5 are NOT intended to permit the use of a powered crane in conjunction with a boatswain’s chair.  The movement of personnel by means of a powered crane may be accomplished ONLY in accordance with AISH 21 (or in emergency rescue situations as stated in paragraph 5.10.6).

    - A crane may be utilized, as an emergency retrieval device only when careful evaluation has confirmed that such use will not expose employees to additional or greater hazards.  Such use must be pre-approved by Apollo IS&H.

- First Aid

    - A person(s) holding a valid certificate of First Aid/CPR training shall be available at all confined space worksites, at all times when employees are present.

    - The standby attendant, foreman, or other designated individual (if certified) may serve as the on-site First Aid/CPR Attendant.

- Isolation

    - When applicable follow AISH 44 Line Break procedure to isolate potential hazards presented by lines feeding into a confined space.

    - All pipes/lines leading into or out of enclosed spaces shall be physically isolated to prevent flow or drainage into the confined space by at least one of the following means:

- Disconnect and cap or blank

- Double block and bleed

- Misalignment or removal of section(s)

    - When the provisions of paragraph 5.12.1 cannot be met, Apollo IS&H shall be contacted and alternative protective measures implemented as appropriate.

    - The provisions of paragraphs 5.12.1 and 5.12.2 do not apply to pipes/lines which simply “pass through” the confined space unless the activity within the confined space may cause the pipes/lines to create a hazard (i.e., welding, cutting, or heating in the presence of lines carrying flammables, combustibles, caustics, toxics, pressurized materials, etc.).

    - Barriers are provided as necessary to protect entry personnel from external hazards.

- Mechanical Hazards

    - Wherever the accidental or intentional restarting of mechanical equipment may pose a hazard to employees working within a confined space, such equipment shall be locked out and tagged or otherwise isolated in accordance with AISH 15.

    - The provisions of paragraph 5.13.1 shall also apply wherever restarting of mechanical equipment may cause ignition of flammable vapors.

    - Situations may arise where mechanical parts which are not connected to an energy source could be caused to move due to the actions of employees conducting work within (or outside of) the confined space.  Such moveable parts shall be secured by means of latches, chains, chocks, blocks or other devices as appropriate.

- Electrical Hazards

    - Electrical tools, cords, lighting, and equipment used in flammable or potentially flammable atmospheres shall be of a type approved for use in the specific hazardous location.

    - Ferrous metal tools, two-way radios, remote control units, or other static charge or spark producing equipment shall not be introduced into a Permit Required confined space unless the atmosphere is tested and monitored for LEL and proven to be non-explosive.

    - All required power tools, power cords, welding machines, and other electrical equipment shall be maintained and operated in accordance with the manufacturer.

    - In addition to the ground fault circuit interrupter (GFCI) requirements of AISH 29, power tools and electrical lighting used in wet, damp, or metal-enclosed (conductive) confined spaces shall also be protected by GFCIs.

    - Wherever the accidental or intentional re-energizing of electrical equipment of circuits may pose a hazard to employees working within a confined space, such equipment or circuits shall be locked out and tagged or otherwise isolated in accordance with AISH 15 until the work within the confined space is complete.

- Training

    - Formal confined space entry training shall be provided by the contractors for entry supervisors, standby attendants, and authorized entrants prior to commencement of confined space work activities. All training shall be documented and include instruction on:

- Compliance with the requirements of AISH 16.

- The proper use and care of atmospheric testing equipment.

- The operation of emergency rescue/fall protection equipment.

- Formal training shall be repeated every year.

NOTE:	For procedure improvements and evaluation Apollo Safety shall review AISH 16 and all of the Confined Space permits on file on a yearly basis.

5.16.2      When information provided on the Confined space Entry Permit or other pre-job planning documents indicates conditions for which additional site-specific training is needed, the Contractor shall ensure that such training is provided prior to any personnel entering the confined space.  Such training shall normally include the following:

- Site-specific emergency response/rescue procedure

- Site-specific hazard recognition/avoidance training

- Site-specific personal protective equipment requirements

NOTE:      The intent of site-specific training shall be to ensure that all affected employees are fully aware of the hazards and the requirements applicable to the specific confined space in which they will be working.

5.16.3      Additional training shall be provided to an employee before there is a change in his/her assigned duties.

5.16.4	Additional training shall be provided whenever there is reason to believe either that there are deviations from this procedure or that there are inadequacies in employee knowledge or use of this procedure.

5.16.5	Employees who have a legitimate need to enter a confined space for a brief period for inspection purposes (engineers, quality control, etc.) are not required to complete the formal confined space entry training provided:

- They have been provided with the site-specific briefing as described in paragraph 5.15.2; and

- They are escorted by an employee who has completed all CSE training requirements, including the formal confined space entry course; and

- The IS&H department (or area IS&H representative) is notified prior to such an entry taking place.

6.0	Records

| Document | Record Submittal Responsibility | Record Retention Responsibility |
| --- | --- | --- |
| Competent Person Designation | Contractor | Construction Management |
| Confined Space Entry Permit | Contractor | Construction Management |
| Daily Confined Space Entry Log | Contractor | Construction Management |
| Welding, Cutting, and Heating Permit | Contractor | Construction Management |

7.0	References

State and Federal Standards

8.0	Attachments

AISH 16-A	Confined Space Entry Permit

AISH 16-B 	Confined Space Alternate Entry

Confined Space Evaluation Flow Chart

APOLLO CONFINED SPACE ENTRY PERMIT

| Project: | Project #: |
| --- | --- |
| Project Location: |
| Space Description: |
| Purpose Of Entry: |
| Permit Valid From: (Date/Time) | Through: (Date/Time) |
| Name of Entrant Supervisor: | Cell Phone Number: |
| Name of Entrant(s): |  |
| Name of Attendant: |  |

Permit Evaluation

The space (check all boxes that apply) □ Is it large enough and configured that an employee can enter and perform assigned work. □ Has limited or restricted means of entry or exit. □ Is not designed for continuous employee occupancy. Is the space a confined space (all 3 criteria above have been met)? □ Yes □ No Check all that apply to the confined space. □ Contain or have the potential to contain a hazardous atmosphere? □ Contain a material that has the potential for an engulfing hazard? □ Have a configuration such that an entrant could be trapped or asphyxiated? □ Contain any other recognized serious safety or health hazards? Is this a permit-required confined space (any of the 4 conditions above have been met)? □ Yes □ No

HAZARD IDENTIFICATION

YES     NO                                                               YES     NO

| Oxygen Deficiency (<19.5%) |  |  | Pressurized Fluids or Gasses |  |  |
| --- | --- | --- | --- | --- | --- |
| Oxygen enrichment (>23.5%) |  |  | Radiation |  |  |
| Flammable Gasses or Vapors |  |  | Temperature Extremes |  |  |
| Inert Atmosphere |  |  | Entrapment or Engulfment |  |  |
| Welding/Cutting Fumes |  |  | Limited Egress |  |  |
| Mechanical Hazards |  |  | Fall Hazards |  |  |
| Electrical Hazards |  |  | High Noise Levels |  |  |
| Dust |  |  | Material Last Stored In Space is Known |  |  |
| Toxic Gasses or Vapors? (Specify) |  |  |
| Introduction of Hazardous Materials? (Specify) |  |  |
| Will the Work Introduce any New Hazard? (Specify) |  |  |
| Other? (Specify) |  |  |

PERSONAL PROTECTIVE EQUIPMENT

YES         NO                                                                           YES        NO

| Gloves |  |  | Chemical Protective Clothing |  |  |
| --- | --- | --- | --- | --- | --- |
| Hard hat |  |  | Radiation Protective Clothing |  |  |
| Foot Protection |  |  | Respirators Required? |  |  |
| Hearing Protection |  |  | Supplied Air Respirator |  |  |
| Safety Glasses |  |  | Escape Respirator |  |  |
| Face Shield and/or Goggles |  |  | Air Purifying Respirator |  |  |
| Coveralls or Rain Suit |  |  | Chemical Resistant Footwear |  |  |
| Lighting Required? If so, specify type. |  |  |

WORK REQUIREMENTS

YES        NO

| Fall Protection or Retrieval Equipment Required? |  |  |
| --- | --- | --- |
| Retrieval Line |  | Harness |  | Tripod |  | Other: |

YES         NO                                                               YES        NO       N/A

| Ground Fault Circuit Interrupter (GFCI) |  |  | Fire Extinguisher(s) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Explosion Proof Equipment |  |  | Barricades, Barriers, Cones |  |  |  |
| Non-Sparking Tools |  |  | Ladders |  |  |  |
| Isolation of Lines or Systems Required? |  |  |  |
| LOTO of Electrical or Mechanical Systems Required? |  |  |  |
| Entry with Energized Cables Required? |  |  |  |
| Cleaning, Purging, or Inerting of the Space Required? |  |  |  |
| Standby Attendant Assigned? |  |  |  |
| Air Monitoring Person Assigned? |  |  |  |
| Pre-Entry Air Monitoring Required? |  |  |  |
| Continuous Air Monitoring Required? (Describe in Special Instructions Section) |  |  |  |
| Rescue Team Notified of Entry? |  |  |  |
| Entry Team Trained? (Supervisor/Entrant/Attendant/Rescue) |  |  |  |
| Pre-Entry Briefing Completed? |  |  |  |
| Communication for Entry Team is by Unimpeded Visual or Verbal? |  |  |  |
| Communication for Entry Team is by Radio or Phone? |  |  |  |

SAFETY CHECKLIST

YES        NO       N/A

| AISH 16, Confined Space Entry Procedure is available at the site. |  |  |  |
| --- | --- | --- | --- |
| AISH 15, LOTO is available at the site. |  |  |  |
| Control measures included in the Apollo PTP and Apollo CS Permit is in effect. |  |  |  |
| Required safety equipment has been provided and has been inspected. |  |  |  |
| Hazardous materials are removed and the space is cleaned to the extent possible. |  |  |  |
| Ventilation is set up and is being used effectively. |  |  |  |
| Entrants/Attendants were instructed on physical and chemical hazards of the job. |  |  |  |
| Entrants/Attendants have reviewed the available MSDS. |  |  |  |
| Entrants/Attendants have been instructed on safe work procedures for the job. |  |  |  |
| Entrants/Attendants have been instructed on the use of safety equipment. |  |  |  |
| Entrants/Attendants have completed confined space entry training. |  |  |  |
| Entrants/Attendants were instructed on emergency procedures. |  |  |  |
| Entrants/Attendants are medically cleared, fit tested, and trained on the respirators being used. |  |  |  |
| Fall protection equipment is provided for exposure to falls greater than 6’. |  |  |  |
| Pedestrian, vehicle, or other barriers are in place to protect entrants from external hazards. |  |  |  |
| “Confined Space Entry In Progress” signage is posted. |  |  |  |
| Phone, radio, alarm horn, or other devices are at hand to summon assistance. |  |  |  |
| “Other” necessary permits have been obtained. |  |  |  |
| Rescue team is available at the CS to respond if needed. |  |  |  |
| Apollo Pre-Task Plan is complete and attached to the CS Permit. |  |  |  |

| Emergency Rescue Plan (Please describe your rescue in case of an emergency): |
| --- |
| If any special equipment is needed for a rescue, please specify: |
| Describe your method of communication and include contact info bellow: |
| Name | Contact info | Position |
| Name | Contact Info | Position |
| Name | Contact Info | Position |

| Entry Supervisor Signature: | Date: |
| --- | --- |
| Entrant Signature: | Date: |
| Entrant Signature: | Date: |
| Entrant Signature: | Date: |
| Attendant Signature: | Date: |
| Apollo Key Supervisor Signature: | Date: |

AIR MONITORING

Monitoring requirements:  Prior to Entry; Prior to Re-Entry Following Breaks; Continuously During Entry.

Minimum type of monitoring required:  Oxygen; Flammability; Carbon Monoxide; Hydrogen Sulfide.

Personal monitoring may be required.

| Direct Reading Gas Meter | Direct Reading Gas Meter | Direct Reading Gas meter |
| --- | --- | --- |
| Make |  | Make |  | Make |  |
| Model |  | Model |  | Model |  |
| Last Calibrated |  | Last Calibrated |  | Last Calibrated |  |

SAMPLING INSTRUMENT INFORMATION

| PRE-ENTRY AIR TEST RESULTS |
| --- |
|  | 02 | LEL | CO | H2S |
| TIME | INITIAL | 19.5%- 23.5% | <10% | <35 PPM | <10PPM | TEST LEVEL (FT) | TEST LEVEL (FT) | TEST DURATION |
|  |  | % | % | PPM | PPM |  |  |  |

YES	NO				YES	NO

| CLASSIFICATION | SAFE ATMOSPHERE |  |  | HAZARDOUS/TOXIC ATMOSPHERE |  |  |
| --- | --- | --- | --- | --- | --- | --- |

TOXIC ATMOSPHERE

| SPECIFIC AGENT: | ACCEPTABLE ENTRY CONDITION: |
| --- | --- |

| SPECIFIC AGENT: | ACCEPTABLE ENTRY CONDITION: |
| --- | --- |

< = less than

ppm = parts per million

| TIME (Every 1/2hr) | Oxygen (19.5-23.5%) | LEL (<10%) | CO (<35ppm) | H2S (<10ppm) | ATMOSPHERE OK | INITIALS |
| --- | --- | --- | --- | --- | --- | --- |
|  | % | % | ppm | ppm |  |  |
|  | % | % | ppm | ppm |  |  |
|  | % | % | ppm | ppm |  |  |
|  | % | % | ppm | ppm |  |  |
|  | % | % | ppm | ppm |  |  |
|  | % | % | ppm | ppm |  |  |
|  | % | % | ppm | ppm |  |  |
|  | % | % | ppm | ppm |  |  |
|  | % | % | ppm | ppm |  |  |
|  | % | % | ppm | ppm |  |  |
|  | % | % | ppm | ppm |  |  |
|  | % | % | ppm | ppm |  |  |
|  | % | % | ppm | ppm |  |  |
|  | % | % | ppm | ppm |  |  |
|  | % | % | ppm | ppm |  |  |
|  | % | % | ppm | ppm |  |  |
|  | % | % | ppm | ppm |  |  |
|  | % | % | ppm | ppm |  |  |
|  | % | % | ppm | ppm |  |  |
|  | % | % | ppm | ppm |  |  |
|  | % | % | ppm | ppm |  |  |
|  | % | % | ppm | ppm |  |  |
|  | % | % | ppm | ppm |  |  |
|  | % | % | ppm | ppm |  |  |

Alternate Entry or Non-Permit Confined Space Form

In order to enter a Permit-Required Confined Space using Alternate Entry Procedures, all hazards must be controlled or removed and any actual or potential hazardous atmosphere must be monitored by using a calibrated direct-read instrument for oxygen, flammability and toxicity. Continuous forced air ventilation alone must be sufficient to maintain the space safe for entry.

If a hazard is detected during the Alternate Entry, the entry shall be terminated and the space re-evaluated.

Before entry, the following checklist must be completed. If you answer “yes” to all the questions, and have completed the remainder of this form, you may enter the confined space. Answering “no” to any of the questions means you may not enter unless you use Permit-Required Confined Space Entry Procedures.

Space to be entered:

Purpose of entry:

Location:

Date:

Pre-Entry Checklist:

| Question | Yes | No |
| --- | --- | --- |
| 1. Does a survey of the surrounding area show that it appears to be free of atmospheric hazards? |  |  |
| 2. Have you evaluated and eliminated any hazard to ensure that the cover to a confined space can be removed safely? |  |  |
| 3. Have electrical energy sources that could pose a hazard been de-energized and locked out? |  |  |
| 4. Is piping that could pose a hazard, drained and are all valves locked out and tagged? |  |  |
| 5. Are other sources of energy such as steam, hydraulic, air, or mechanical systems that could pose a hazard locked and tagged out? |  |  |
| 6. To the best of your knowledge will the area remain free of all other known hazards for the duration of the entry. |  |  |
| 7. Have you been trained on the hazards, equipment and safe work practices necessary to make the entry and all work performed during the entry safe? |  |  |
| 8. Are you trained to operate the air monitoring equipment? |  |  |
| 9. Are you trained and authorized to enter confined spaces? |  |  |
| 10. If continuous forced ventilation is indicated, is it in place, operating, and directed to the work area? |  |  |
| 11. Was the air monitoring equipment calibrated within 30 days? |  |  |
| 12. Did you test the atmosphere before entry and record the readings below? |  |  |
| 13. Is it true that the air monitoring equipment did not go into alarm during initial testing? |  |  |
| 14. Will the confined space atmosphere be monitored continuously during your entry? |  |  |
| 15. Is the opening guarded to prevent persons or objects from falling into the space? |  |  |

If you have completed the above checklist and answered “yes” to all questions, you may authorize appropriately trained individuals to enter the confined space using Alternate Entry Procedures.

Atmospheric Testing Record:

| Sampled for: | Permissible Entry Levels | Initial reading | 30 min | 1 hr | 1.5 hr | 2 hr | 2.5 hr | 3 hr | 3.5 hr | 4 hr |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Oxygen | 19.5 to 23.5% |  |  |  |  |  |  |  |  |  |
| Hydrogen Sulfide | a10PPM b15PPM |  |  |  |  |  |  |  |  |  |
| Carbon Monoxide | Under 35 PPM |  |  |  |  |  |  |  |  |  |
| LEL |  |  |  |  |  |  |  |  |  |  |

aEmployee can work in the area for 8 hours at this concentration.

bEmployee can work in this area up to 15 minutes at this concentration.

| Emergency Rescue Plan (Please describe your rescue in case of an emergency): |
| --- |
| If any special equipment is needed for a rescue, please specify: |
| Describe your method of communication and include contact info bellow: |
| Name | Contact info | Position |
| Name | Contact Info | Position |
| Name | Contact Info | Position |

Entrants:

Entry was:

Concluded normally

Aborted due to problems listed:

Entry Supervisor Signature:					__Date:_____________________